## Sheet 1
Laboratory | Facility | Country | City | Sample Population | Sample Sub-Population | Reference Sample Type | Sample Set | Reference Method | Repeats | Blinding | Test Type | Test Format | Use Case | Test Name | Manufacturer | Catalog Number | Lot Number | Index Sample Type | Target | Antigen Used for Detection | RNA Extraction Kit | Estimated LoD | LoD Unit | Higher Cut-off | Lower Cut-off | Ct Value | Days of Sickness | Total Positive | Total Negative | True Positive | True Negative | Sensitivity | Specificity | Link to Publication | DOI | Comments
Clinical Laboratory Clinica Alemana de Santiago | Hospital | Chile | Santiago | Symptomatic patients | Not available | Universal transport medium with NP and OP swab | Retrospective set | RT-PCR | Replicates only if discordant results | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) with reader | Not available | Bioeasy 2019-nCoV Ag Fluorescence Rapid Test Kit (Time-Resolved Fluorescence) | Shenzhen Bioeasy Biotechnology Co., Ltd | YRLF04401025 | 2002N408 | Universal transport medium with NP and OP swab | Nucleocapsid protein | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 82 | 45 | 77 | 45 | 93.9 | 100 | https://papers.ssrn.com/sol3/papers.cfm?abstract_id=3569871 | 10.2139/ssrn.3569871 | Not available
Spanish National Center for Microbiology. Instituto de Salud Carlos III | Public Health | Spain | Madrid | Not available | Moderate | Nasopharyngeal swabs | Prospectively collected set | RT-PCR | Duplicates | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) | Not available | Bioeasy 2019-Novel Coronavirus (2019-nCoV) Ag GICA Rapid Test | Shenzhen Bioeasy Biotechnology Co., Ltd | REF: YRLG22202025 | 2003N206 | Nasopharyngeal swabs | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 37 | 11 | 9 | 11 | 24.3 | 100 | Not available | Not available | Not available
Southwest Hospital | Hospital | China | Chongqing | Symptomatic patients | Not available | Nasopharyngeal swabs | Prospectively collected set | RT-PCR | Not available | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) with reader | Not available | Bioeasy 2019-nCoV Ag Fluorescence Rapid Test Kit (Time-Resolved Fluorescence) | Shenzhen Bioeasy Biotechnology Co., Ltd | Not available | Not available | Nasopharyngeal swabs | Nucleocapsid protein | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 208 | 31 | 141 | 31 | 67.8 | 100 | https://www.medrxiv.org/content/10.1101/2020.03.07.20032524v2.full.pdf | 10.1101/2020.03.07.20032524 | Not available
Clinical Laboratory, Clinica Alemana de Santiago | Hospital | Chile | Santiago | Symptomatic patients | Not available | Universal transport medium with nasopharyngeal swab | Retrospective set | RT-PCR | Replicates for discordant results | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) | Not available | BIOCREDIT COVID-19 Ag | RapiGEN Inc. | G61RHA20 | H073001SD | Universal transport medium with NP swab | Not specified | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 79 | 30 | 49 | 30 | 62 | 100 | Not available | Not available | Sensitivity analysis of subgroups with high and low viral loads Positive samples with: - Ct <25: 45/53 = 84.9% - Ct >25: 4/26 = 15.4%
Clinical Laboratory, Clinica Alemana de Santiago | Hospital | Chile | Santiago | Symptomatic patients | Not available | Universal transport medium with nasopharyngeal swab | Retrospective set | RT-PCR | Repeats for discordant results | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) | Not available | SARS-Cov-2 Antigen Fluorescence Rapid Detection Kit | Beijing Savant Biotechnology Co., Ltd | BCT-HKT-050 | 20031501 | Universal transport medium with nasopharyngeal swab | N protein | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 78 | 31 | 13 | 31 | 16.7 | 100 | Not available | Not available | Sensitivity analysis of subgroups with high and low viral loads Positive samples with: - Ct <25: 11/52 = 21.2% - Ct >25: 2/26 = 7.7%
Clinical Laboratory, Clinica Alemana de Santiago | Hospital | Chile | Santiago | Symptomatic patients | Not available | Universal transport medium with nasopharyngeal swab | Retrospective set | RT-PCR | Repeats for discordant results | Blinded to reference results | Antigen | Rapid diagnostic test (RDT) with reader | Not available | Bioeasy 2019-nCoV Ag Fluorescence Rapid Test Kit (Time-Resolved Fluorescence) | Shenzhen Bioeasy Biotechnology Co., Ltd | YRLF04401025 | 2002N408 | Universal transport medium with nasopharyngeal swab | Not specified | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 80 | 31 | 68 | 31 | 85 | 100 | Not available | Not available | Sensitivity analysis of subgroups with high and low viral loads Positive samples with: - Ct <25: 54/54 = 100% - Ct >25: 14/26 = 53.8% 17 of 80 positive samples were included in former evaluation of same assay (also available on FIND).