## Sheet 1
Laboratory | Facility | Country | City | Sample Population | Sample Sub-Population | Reference Sample Type | Sample Set | Reference Method | Repeats | Blinding | Test Type | Test Format | Use Case | Test Name | Manufacturer | Catalog Number | Lot Number | Index Sample Type | Target | Antigen Used for Detection | RNA Extraction Kit | Estimated LoD | LoD Unit | Higher Cut-off | Lower Cut-off | Ct Value | Days of Sickness | Total Positive | Total Negative | True Positive | True Negative | Sensitivity | Specificity | Link to Publication | DOI | Comments
| Hospital | Chile | Santiago | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | No replicates | Not blinded to reference results | Molecular | Manual PCR | Not available | 2019-nCoV TaqMan RT-PCR Kit (Catalog | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | Not available | Not available | Not available | Not available |  |  | Not available | Not available | Not available
| Public Health | United States of America (USA) | Not available | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Prospectively collected set | RT-PCR | No replicates | Not blinded to reference results | Molecular | Integrated system | Not available | SARS-CoV-2 DETECTR | Mammoth Biosciences | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Fresh RNA extracted | Not available | Qiagen DSP Viral RNA Mini Kit | 10 | copy / microL | Not available | Not available | Not available | Overall | 10 | 11 | 9 | 11 | 90 | 100 | https://www.medrxiv.org/content/10.1101/2020.03.06.20032334v2.full.pdf | 10.1101/2020.03.06.20032334 | Note, manufacturer is among authors.
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | COVID-19 Nucleic Acid Detection Kit (Multiplex Real Time PCR) | Sansure Biotech, Inc. | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 0.1 | copy / microL | Not available | Not available | Not available | Overall | 16 | 5 | 15 | 4 | 93.8 | 80 | Not available | Not available | Not available
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | LightMix Modular SARS-CoV-2 (COVID19) | TIB Molbiol/Roche Diagnostics | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 0 | copy / microL | Not available | Not available | Not available | Overall | 20 | 7 | 16 | 7 | 80 | 100 | Not available | Not available | LoD: 0.01 copies/uM Egene; 0.1 copies/uM Ngene; 0.15 copies/uM RdRP
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | Real-time fluorescent RT-PCR kit for detecting 2019 nCoV | BGI Health (HK) Co. Ltd. | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 0.1 | copy / microL | Not available | Not available | Not available | Overall | 20 | 7 | 14 | 7 | 70 | 100 | Not available | Not available | LoD: 0.1 copies/uL on Ngene; 0.15 copies/uL on RdRP; 1.3 c/uL Egene
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | YouSeq SARS-COV-2 qPCR Test | YouSeq Ltd | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 0 | copy / microL | Not available | Not available | Not available | Overall | 16 | 5 | 13 | 5 | 81.2 | 100 | Not available | Not available | LoD determined on Egene
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | TaqPath COVID-19 Combo Kit | Thermo Fisher Scientific | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 1.4 | copy / microL | Not available | Not available | Not available | Overall | 26 | 7 | 13 | 7 | 50 | 100 | Not available | Not available | LoD determined on Ngene
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | Logix Smart Coronavirus disease 2019 (COVID-19) | Co-diagnostics | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | 0.2 | copy / microL | Not available | Not available | Not available | Overall | 6 | Not available | 4 | Not available | 66.7 |  | Not available | Not available | LoD determined on RdRP
National Institute for Communicable Diseases (NICD) | Public Health | South Africa | Not available | Not available | Not available | Nasopharyngeal swabs | Not available | RT-PCR | No replicates | Not available | Molecular | Manual PCR | Not available | Bosphore Novel Coronavirus (2019-nCoV) Detection Kit | Anatolia Geneworks | Not available | Not available | Nasopharyngeal swabs | Not available | Not available | MagnaPure 96 | Not available | Not available | Not available | Not available | Not available | Overall | 6 | Not available | 3 | Not available | 50 |  | Not available | Not available | LoD: below 13 copies/uL
UCSD | Hospital | United States of America (USA) | San Diago | Symptomatic patients | Not available | Nasopharyngeal swabs | Prospectively collected set | RT-PCR | Not available | Blinded to reference results | Molecular | Integrated system | Not available | Fluxergy Sample-to-Answer SARS-CoV-2 RT-PCR | Fluxergy LLC | Not available | Not available | Nasopharyngeal swabs | Specimen without RNA extraction | Not available | Not available | 33 | copy / reaction | Not available | Not available | Not available | Overall | 31 | 61 | 29 | 58 | 93.5 | 95.1 | Not available | Not available | Not available
Second People's Hospital of Fuyang | Hospital | China | Fuyang | Confirmed COVID-19 patients | Mild; Severe; Critical | Not available | Retrospective set | Clinical examination; Computed Tomography (CT); RT-PCR | Not available | Not available | Molecular | Not available | Not available | Not available | Shanghai BioGerm Medical Biotechnology Co., Ltd. | Not available | Not available | Oropharyngeal swabs | Not available | Not available | Viral nucleic acid isolation kit from Jiangsu Bioperfectus Technologies Company, Ltd. | Not available | Not available | Not available | Not available | Not available | Overall | 38 | 0 | 14 | Not available | 36.8 |  | https://www.medrxiv.org/content/10.1101/2020.03.26.20042044v1 | 10.1101/2020.03.26.20042044 | Not available
Second People's Hospital of Fuyang | Hospital | China | Fuyang | Confirmed COVID-19 patients | Mild; Severe; Critical | Not available | Retrospective set | Clinical examination; Computed Tomography (CT); RT-PCR | Not available | Not available | Molecular | Not available | Not available | Not available | Shanghai BioGerm Medical Biotechnology Co., Ltd. | Not available | Not available | Sputum | Not available | Not available | Viral nucleic acid isolation kit from Jiangsu Bioperfectus Technologies Company, Ltd. | Not available | Not available | Not available | Not available | Not available | Overall | 38 | 0 | 29 | Not available | 76.3 |  | https://www.medrxiv.org/content/10.1101/2020.03.26.20042044v1 | 10.1101/2020.03.26.20042044 | Not available
Microbiology Department, Basingstoke & North Hampshire Hospital | Hospital | Great Britain | Not available | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Not available | RT-PCR | Not available | Not available | Molecular | Manual PCR | Not available | genesig Real-Time PCR COVID-19 | Novacyt/primerdesign | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Not available | Not available | PerkinElmer chemagic Prepito-D (NA Body Fluid kit; plasma protocol) | Not available | Not available | Not available | Not available | 28.3 | Overall | 4 | 53 | 4 | 53 | 100 | 100 | Not available | Not available | Target: RdRP gene target
Microbiology Department, Basingstoke & North Hampshire Hospital | Hospital | Great Britain | Not available | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Not available | RT-PCR | Not available | Not available | Molecular | Manual PCR | Not available | VIASURE 2019-nCoV | CerTest Biotec, S.L. | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Not available | Not available | PerkinElmer chemagic Prepito-D (NA Body Fluid kit; plasma protocol) | Not available | Not available | Not available | Not available | 28.6 | Overall | 0 | 29 | Not available | 29 |  | 100 | Not available | Not available | VIASURE 2019-nCoV ? S gene target.
NIS Laboratories, National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Manual PCR | Not available | RealStar® SARS-CoV-2 RT-PCR Kit | altona Diagnostics | Not available | Not available | Respiratory specimen | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 0 | 195 | Not available | 195 |  | 100 | Not available | Not available | Target: B-ß coronavirus RNA
NIS Laboratories, National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Integrated system | Not available | SARS-CoV-2, Influenza and RSV 8-well | AusDiagnostics | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | Not available | Not available | Not available | Not available |  |  | Not available | Not available | Not available
NIS Laboratories, National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs; Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Integrated system | Not available | EasyScreenTM Pan-Coronavirus/SARS-CoV-2 Detection Kit | Genetic Signatures Limited | RP010-HT | Not available | Respiratory specimen | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 0 | 195 | Not available | 195 |  | 100 | Not available | Not available | Target: E-gene
National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Integrated system | Not available | Extended Coronavirus Array (lab-based or near-POC) | Randox Laboratories Ltd | EV4418 | Not available | Respiratory specimen | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 0 | 195 | Not available | 195 |  | 100 | Not available | Not available | Not available
Department of Virology, Manchester Medical Microbiology Partnership, Manchester Royal Infirmary | Public Health | Great Britain | Manchester | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs; Sputum | Not available | RT-PCR | Not available | Not available | Molecular | Integrated system | Not available | Coronavirus LightMix® Modular SARS and Wuhan CoV E-gene assay | Roche Ltd | 09155368001 | Not available | Nasopharyngeal swabs; Oropharyngeal swabs; Sputum | Not available | Not available | Magna Pure 96 using the Pathogen Universal protocol 200 v4.0 | Not available | Not available | Not available | Not available | Not available | Overall | 15 | 150 | 15 | 150 | 100 | 100 | Not available | Not available | Not available
National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Manual PCR | Not available | The Novel Coronavirus (2019-nCoV) Nucleic Acid Test Kit | GeneFirst Ltd | Not available | Not available | Respiratory specimen | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 0 | 195 | Not available | 195 |  | 100 | Not available | Not available | Target: orf1ab
NIS Laboratories, National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Not available | Not available | Molecular | Integrated system | Not available | genesig Real-Time PCR COVID-19 | Novacyt/primerdesign | Z-Path-COVID-19-CE | Not available | Respiratory specimen | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 0 | 195 | Not available | 195 |  | 100 | Not available | Not available | Target: RdRp of SARS-CoV-2
NIS Laboratories, National Infection Service, Public Health England | Public Health | Great Britain | Not available | Not available | Not available | Respiratory specimen | Not available | RT-PCR | Duplicates | Not available | Molecular | Manual PCR | Not available | Allplex 2019-nCoV assay | Seegene, Inc. | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | Not available | Not available | Not available | Not available |  |  | Not available | Not available | Not available
Wuhan Jinyintan Hospital | Hospital | China | Wuhan | Confirmed COVID-19 patients | Not available | Not available | Not available | WHO Interim Guidance | Not available | Not available | Molecular | Manual PCR | Not available | Liferiver Novel Coronavirus (2019-nCoV) Real Time Multiplex RT-PCRT kit | Shanghai ZJ Bio-Tech Co., Ltd/Liferiver | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs; Sputum | Fresh RNA extracted | Not available | QIAamp viral RNA mini kit | Not available | Not available | Not available | Not available | Not available | Overall | 81 | Not available | 42 | Not available | 51.9 |  | https://www.medrxiv.org/content/10.1101/2020.02.27.20028787v1.full.pdf+html | 10.1101/2020.02.27.20028787 | Not available
Renmin Hospital of Wuhan University | Hospital | China | Wuhan | Confirmed COVID-19 patients | Moderate; Severe; Critical | Not available | Retrospective set | Clinical examination; Computed Tomography (CT); RT-PCR | Not available | Not available | Molecular | Manual PCR | Not available | SARS-CoV-2 ORF1ab/N qPCR detection kit | Shanghai GeneoDx Biotechnology Co., Ltd | Not available | Not available | Unknown | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 133 | 0 | 91 | Not available | 68.4 |  | https://www.medrxiv.org/content/10.1101/2020.03.28.20045765v1 | 10.1101/2020.03.28.20045765 | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | Xpert Xpress SARS-CoV-2 | Cepheid | 900-0883 | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 39 | Overall | 5 | 3 | 5 | 3 | 100 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-CNR-CEPHEID-tests-RUO-_-CNR-LYON-_30032020.pdf | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | BioGX SARS-CoV-2 Open System Reagents for BD MAX? | BioGX | 350-093-C-MAX | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 40.3 | Overall | 7 | 3 | 7 | 3 | 100 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | SARS-COV-2 R-GENE® (ref 423717) | bioMérieux SA | 423717 | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 35 | Overall | 6 | 3 | 6 | 3 | 100 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | cobas® SARS-CoV-2 (for use on the cobas® 6800/8800 Systems) | Roche Molecular Diagnostics | 09175431190 | Not available | Respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 35 | Overall | 15 | 5 | 15 | 5 | 100 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Not available | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Prospectively collected set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | VitaPCR? SARS-CoV-2 Assay | BIOSYNEX S.A. | Not available | Not available | Respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 26 | Overall | 8 | 7 | 7 | 7 | 87.5 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | VIASURE SARS-CoV-2 S gene Real Time PCR Detection Kit adapted for BD MAX? System | CerTest Biotec, S.L. | Not available | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | 35 | Overall | 7 | 3 | 5 | 3 | 71.4 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | VitaPCR? SARS-CoV-2 Assay | BIOSYNEX S.A. | Not available | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 3 | 3 | 3 | 37.5 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Centre National de Référence (CNR) des virus des infections respiratoires | Public Health | France | Lyon | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Retrospective set | RT-PCR | No replicates | Not available | Molecular | Integrated system | Not available | RealStar® SARS-CoV-2 RT-PCR Kit | altona Diagnostics | 821003 | Not available | Nasopharyngeal swabs; Other; Deep respiratory specimen | Fresh RNA extracted | Not available | Not available | Not available | Not available | Not available | Not available | 35 | Overall | 8 | 2 | 7 | 2 | 87.5 | 100 | https://www.sfm-microbiologie.org/2020/04/03/covid-19/ | Not available | Not available
Hopital Charles Le Moyne | Hospital | Canada | Not available | Symptomatic patients | Mild; Moderate; Severe; Critical | Nasopharyngeal swabs; Oropharyngeal swabs | Prospectively collected set | RT-PCR | No replicates | Blinded to reference results | Molecular | Integrated system | Not available | RIDA® GENE SARS-CoV-2 RUO (PG6815RUO) | R-Biopharm AG | Not available | Not available | Nasopharyngeal swabs; Oropharyngeal swabs | Specimen without RNA extraction | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Overall | 5 | 15 | 5 | 15 | 100 | 100 | Not available | Not available | Not available
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low/neg concentration pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | TaqMan? 2019-nCoV Assay Kit v1 | Thermo Fisher Scientific | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 8 | 1 | 100 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-Thermo-v1.pdf | Not available | Samples tested were a serial dilution pool of samples.
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low concentration/negative pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | TaqPath COVID-19 Combo Kit | Thermo Fisher Scientific | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 8 | 1 | 100 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-Thermo-v2.pdf | Not available | Samples tested were a serial dilution pool of samples; performance when amplified on QuantStudio 5/6/7/12
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low concentration/negative pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | RIDA® GENE SARS-CoV-2 RUO (PG6815RUO) | R-Biopharm AG | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 8 | 1 | 100 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-RIDAgene.pdf | Not available | Samples tested were a serial dilution pool of samples; performance when amplified on ABI 7500 Fast
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low concentration/negative pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | RIDA® GENE SARS-CoV-2 RUO (PG6815RUO) | R-Biopharm AG | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 7 | 1 | 87.5 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-RIDAgene.pdf | Not available | Samples tested were a serial dilution pool of samples; performance when amplified on LightCycler 480
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low concentration/neg pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | genesig Real-Time PCR COVID-19 | Novacyt/primerdesign | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 8 | 1 | 100 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-genesig.pdf | Not available | Serial dilution of pooled samples
Institut Pasteur | Private Laboratory | France | Paris | Confirmed COVID-19 patients | Not available | Nasopharyngeal swabs | Retrospective set | RT-PCR | High concentration pools: tested once Low concentration/negative pools: tested in triplicate | Not available | Molecular | Manual PCR | Not available | TaqPath COVID-19 Combo Kit | Thermo Fisher Scientific | Not available | Not available | Nasopharyngeal swabs | Frozen RNA | Not available | Extraction NucleoSpin Dx Virus (Réf. Macherey Nagel 740895.50) | Not available | Not available | Not available | Not available | Not available | Overall | 8 | 1 | 7 | 1 | 87.5 | 100 | https://www.sfm-microbiologie.org/wp-content/uploads/2020/04/RESULTATS-Thermo-v2.pdf | Not available | Samples tested were a serial dilution pool of samples; performance when amplified on LightCycler 480/ABI 7500 Fast